CALIFA Electronics & DAQ
Preamplifier Status
DAQ status – Exp S091/118 in 2024
DAQ Upgrade
Documentation Status
Tobias Jenegger
CALIFA WG meeting
18.10.2024
Supported by BMBF 05P15WOFNA and 05P19WOFN1.
The results presented here are based on the experiment s444/s473, which was performed at the beam line/infrastructure Cave C at the GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt (Germany) in the frame of FAIR Phase-0.
Physics with R3B
CALIFA – Design
TUM Members:
Roman Gernhäuser,Philipp Klenze,Mrunmoy Jena, Gero Bollmann,Tobias Jenegger

---
CALIFA Preamplifier Status for Exp. S091/118 - 2024
→ CEPA: 8 x 3/45pC DR Preamplifier
→ iPhos: mixed configuration:
        8 x 3/45pC DR PA
        8 x 3/45pC DR PA
→ Barrel – Ring 4&3: 32 x 3/30 SR PA
→ Backward Barrel (BB) – Ring 2:
        Bricolage of 16 PA (SR/DR)
What is still needed?
32 x SR 3/30pC PA for BB
(the current BB are spares for different applications)
Modifications:
12x DR → to low noise input and 3/45pC range
32x SR → lower noise input stage
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
DR 30/300
DR 48 30/300
iPhos
Ring 4
Ring 3
Ring 2
Ring 1
CEPA
DR 48 30/300
DR 48 30/300
DR 48 30/300
DR 30/300
DR 30/300
DR 30/300

---
DAQ Status for Exp. S091/118 - 2024
PC1:
108 (MES)
109 (WIX)
PC0:
75 (MES)
76 (WIX)
Overlord
LV - WIENER
Power Distributer
NIM Crate
Exploder
Exploder
TDK Lambda
TDK Lambda
Exploder

---
PC1:
108 (MES)
109 (WIX)
DAQ – Future Upgrades
PC0:
75 (MES)
76 (WIX)
Hardware ordered:
LV - WIENER
Power Distributer
5 Exploders (as spares)
16+ FEBEX cards
1 NIM Power Crate
Exploder
Exploder
Cables:
48+ SR data cables (BB)
16+ LV power cables (BB)
TDK Lambda
Exploder
DAQ Testing:

Running sub-system with all three crates was not possible, unstable
Exploder
This needs to be tested and debugged!
TDK Lambda
NIM Crate
Overlord






---
Documentation Status
Info about FAB,FEBEX,PAs, Exploders on google spreadsheet:
https://docs.google.com/spreadsheets/d/1TqvlTK1xVxb5rhWSQlSCEBDzf2x7GS8RSkM1WwQoNJM/edit?hl=de&pli=1&gid=1790449867#gid=1790449867
Info califa-cabling-slowcontrol:
https://elog.gsi.de/land/CALIFA/375
More (more or less structured) info on our wiki:
https://wiki.r3b-nustar.de/detectors/califa/overview
General Questions:
Do we have an overview what we have documented and what not?
Where and how should the documentations be stored?
→ lifetime ( how long will google spreadsheets be available (for free) ?)
→ accessibility (read and write permissions?)
Maybe open question for R3BWeek-Paris,
since all detector groups should be affected