CALIFA Electronics & DAQ
Preamplifier Status
DAQ status – Exp S091/118 in 2024
DAQ Upgrade
Documentation Status
Tobias Jenegger
CALIFA WG meeting
18.10.2024
Supported by BMBF 05P15WOFNA and 05P19WOFN1.
The results presented here are based on the experiment s444/s473, which was performed at the beam line/infrastructure Cave C at the GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt (Germany) in the frame of FAIR Phase-0.
Physics with R3B
CALIFA – Design
TUM Members:
Roman Gernhäuser,Philipp Klenze,Mrunmoy Jena, Gero Bollmann,Tobias Jenegger

---
Preamplifier Performance – Noise Reduction
Stefan Eder’s analysis
DR 48 channel 30/450 Preamplifiers used in exp. 2024 are new ones with low noise input stage

---
CALIFA Preamplifier Status for Exp. S091/118 - 2024
→ CEPA: 8 x 3/45pC DR Preamplifier
→ iPhos: mixed configuration:
        8 x 3/45pC DR PA
        8 x 3/30pC DR PA
→ Barrel – Ring 4&3: 32 x 3/30pC SR PA
→ Backward Barrel (BB) – Ring 2:
        Bricolage of 16 PA (SR/DR)
What is still needed?
32 x SR 3/30pC PA for BB
(the current BB are spares for different applications)
Modifications:
12x DR → to low noise input and 3/45pC range
32x SR → lower noise input stage
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
DR 30/300
DR 48 30/450
iPhos
Ring 4
Ring 3
Ring 2
Ring 1
CEPA
DR 48 30/450
DR 48 30/450
DR 48 30/450
DR 30/300
DR 30/300
DR 30/300

---
What we still need:
“4π Config.”
“Default Config.”
* in both versions all preamps are upgraded to lower noise input stage

---
Workload & Costs
“4π Config.”
“Default Config.”
To Buy:
16 x 3/30pC DR PA for Ring4
16 x 3/30pC SR PA for Ring1
To Modify:
12x DR → to low noise input and 3/45pC range	??
32x SR → low noise input stage	??
To Buy:
32 x 3/30pC SR PA for BB	128k€
To Modify:
12x DR → to low noise input and 3/45pC range	??
32x SR → low noise input stage	??
??
??
Note:
+ 32 FEBEX cards are needed for this configuration
LV load balancing may be critical

---
DAQ Status for Exp. S091/118 - 2024
PC1:
108 (MES)
109 (WIX)
PC0:
75 (MES)
76 (WIX)
Overlord
LV - WIENER
Power Distributer
NIM Crate
Exploder
Exploder
TDK Lambda
TDK Lambda
Exploder
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
DR 30/300
DR 48 30/450
iPhos
Ring 4
Ring 3
Ring 2
Ring 1
CEPA
DR 48 30/450
DR 48 30/450
DR 48 30/450
DR 30/300
DR 30/300
DR 30/300

---
PC1:
108 (MES)
109 (WIX)
DAQ – Future Upgrades
PC0:
75 (MES)
76 (WIX)
Hardware ordered:
LV - WIENER
Power Distributer
5 Exploders (as spares)
16+ FEBEX cards
1 NIM Power Crate
Exploder
Exploder
Cables:
48+ SR data cables (BB)
16+ LV power cables (BB)
TDK Lambda
Exploder
DAQ Testing:

Running sub-system with all three crates was not possible, unstable
Exploder
This needs to be tested and debugged!
TDK Lambda
NIM Crate
Overlord






---
Other version

---
Backup Electronics needed:
Already available or ordered:
5 Exploders
16+ FEBEX cards
NIM Power Crate
Still to buy:
2 x PEXOR cards
2 x PEXARIA cards
2 x TRIXOR cards
1 x DAQ Pc
2 x TDK Lambdas

---
Outer Cabling
For “Default Config.”:
For “4π Config.”:
16+ 32pin cables (BB) need to be produced
16+ LV cables need to be produced
32+ 64pin DR SCSI cables for Ring 4
Components on stock or easily available
48+ 32pin cables (BB) need to be produced
16+ LV cables need to be produced
Workload: 1-2 weeks
No ~3.5 m SCSI cables available on the market !
Workload: 2-3 weeks

---
Inner Cabling – Status and Upgrade
Anna Lena until Monday in vacation ….
But she told me that there are enough recyclable SUB-D connectors from CONEC available

---
Documentation Status
Info about FAB,FEBEX,PAs, Exploders on google spreadsheet:
https://docs.google.com/spreadsheets/d/1TqvlTK1xVxb5rhWSQlSCEBDzf2x7GS8RSkM1WwQoNJM/edit?hl=de&pli=1&gid=1790449867#gid=1790449867
Info califa-cabling-slowcontrol:
https://elog.gsi.de/land/CALIFA/375
More (more or less structured) info on our wiki:
https://wiki.r3b-nustar.de/detectors/califa/overview
General Questions:
Do we have an overview what we have documented and what not?
Where and how should the documentations be stored?
→ lifetime ( how long will google spreadsheets be available (for free) ?)
→ accessibility (read and write permissions?)
Maybe open question for R3BWeek-Paris,
since all detector groups should be affected

---
CALIFA Preamplifier Status for Exp. S091/118 - 2024
→ CEPA: 8 x 3/45pC DR Preamplifier
→ iPhos: mixed configuration:
        8 x 3/45pC DR PA
        8 x 3/30pC DR PA
→ Barrel – Ring 4&3: 32 x 3/30pC SR PA
→ Backward Barrel (BB) – Ring 2:
        Bricolage of 16 PA (SR/DR)
What is still needed?
32 x SR 3/30pC PA for BB
(the current BB are spares for different applications)
Modifications:
12x DR → to low noise input and 3/45pC range
32x SR → lower noise input stage
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
SR 30/300
DR 30/300
DR 48 30/450
iPhos
Ring 4
Ring 3
Ring 2
Ring 1
CEPA
DR 48 30/450
DR 48 30/450
DR 48 30/450
DR 30/300
DR 30/300
DR 30/300